NSOP Field vs Model — Thermal Efficiency

North Sydney Olympic Pool at Milsons Point  |  2–20 March 2026  |  bright-sun conditions (G ≥ 700 W/m²)

|  | Field measured | Model estimate (ISO) | Difference |
| --- | --- | --- | --- |
| Thermal efficiency (bright sun) | 0.20 | 0.32 | Field is 0.63x the model (about 37% lower) |
| Real-world derating (field / model) | 0.63x | 1.00x (certified) | Real array delivers ~63% of certified efficiency |

The certified efficiency is a best-case laboratory value. The real operating array delivers about 0.63 times that in the field.