Water Mains Temperature Calculator

For the Coolsheet PVT calculator

# 1. What it does

The calculator estimates the cold mains water temperature for the selected site. This matters because mains water temperature cannot be pulled directly for every site, so a regional formula is used to estimate it across Australia. Rather than assuming one fixed mains temperature all year, it builds a smooth water main-temperature curve for the whole year (we averages that into monthly values for display).

# 2. How it works, step by step

- The user enters an address, suburb, or postcode.

- The calculator geocodes it to a latitude and longitude.

- It loads a Typical Meteorological Year (TMY) weather file for that location.

- From that weather it works out two numbers: the annual average air temperature and the seasonal temperature swing (hottest month minus coldest month).

- It matches the site to one of five Australian AS/NZS 4234 climate zones.

- It uses that zone’s fitted equation constants.

- The result an estimate of cold mains water temperature. (sinusoidal wave)

# 3. Choosing the climate zone

Australia is represented by five reference climate zones, each anchored to a city. The site is compared against all five, and the closest-matching zone provides the equation constants used for that site.

How “closest” is decided: once the weather is loaded, the match is by climate similarity — how close the site’s annual average air temperature and seasonal swing are to each zone. Straight-line geographic distance is only used as a fallback before weather has loaded. Climate matching is more reliable than distance: for example Perth is thousands of kilometres from every anchor city, but its climate matches Sydney (Zone 3).

The five zones:

| Zone | Reference city | Latitude | Longitude | Annual avg air (°C) | Monthly swing (°C) |
| --- | --- | --- | --- | --- | --- |
| 1 | Alice Springs | -23.698 | 133.881 | 21.6 | 17.5 |
| 2 | Rockhampton | -23.379 | 150.510 | 22.2 | 10.1 |
| 3 | Sydney | -33.869 | 151.209 | 18.0 | 10.0 |
| 4 | Melbourne | -37.814 | 144.963 | 14.1 | 10.8 |
| 5 | Canberra | -35.281 | 149.130 | 12.7 | 14.8 |

# 4. The equation

The method uses the Burch–Christensen mains-water temperature correlation, a simple sinusoidal (sine-wave) curve over the year. The structure is unchanged; only the constants were re-fitted for Australian zones.

https://bigladdersoftware.com/epx/docs/9-6/engineering-reference/water-systems.html

Figure 1. The whole method is just one smooth wave over the year — warmest in late summer, coldest in winter. This example uses the original (un-fitted) Burch–Christensen constants for a single location (Sydney), so the wave shape is easy to see. Our Australian version keeps this exact shape and only re-tunes the wave’s height and timing to match local data.

Inputs: Same Burch-Christensen formula, written with the calculator’s variable names

TavgF = T in the diagram = annual average air temperature (°F) DeltaF = ΔT in the diagram = hottest-month minus coldest-month monthly average air temperature (°F) day* = day of year (1-365), shifted by 182 days for the Southern Hemisphere ratio = ratioC0 + ratioC1 x (TavgF - 44) lag = lagC0 + lagC1 x (TavgF - 44) angle = 0.986 x (day* - 15 - lag) - 90 TmainsF = (TavgF + offsetF) + ratio x (DeltaF / 2) x sin(angle) TmainsC = (TmainsF - 32) x 5 / 9

The equation is evaluated for every day of the year; the monthly value shown is simply the average of that month’s daily values.

# 5. The zone constants

Every zone uses the exact same equation above. The only thing that changes between zones is these five fitted constants (RMSE is the fit error against the reference data).

| Zone | offsetF | ratioC0 | ratioC1 | lagC0 | lagC1 | RMSE (°C) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 Alice Spr. | 8.08374694 | 0.98902166 | -0.02127621 | 42.50534081 | -2.00087124 | 0.697226 |
| 2 Rockhamp. | -3.13232367 | 1.00129389 | 0.03030210 | 42.00526458 | -1.85642713 | 0.950095 |
| 3 Sydney | -0.37705119 | 0.80057423 | 0.01158591 | 39.97591642 | -1.98585011 | 0.601931 |
| 4 Melbourne | -0.82216746 | 0.80077479 | 0.01155877 | 39.92431791 | -2.62910112 | 0.501776 |
| 5 Canberra | 0.04457657 | 1.00083512 | 0.00311399 | 42.09699593 | -1.05763617 | 0.693906 |

Overall fit error across all five zones:

# 6. How the formulas were calibrated

The constants were not guessed — they were fitted to Australian regulatory climate-zone data. The calibration target was the AS/NZS 4234 reference mains-water data used in the Clean Energy Regulator (CER) DomDecks files, giving 60 reference points (5 climate zones × 12 months).

- Reference mains temperatures: CER DomDecks V30h zone files (zone1–zone4_NW_Domestic.inc and ZONEHP5_Au_Domestic.inc).

- Reference air temperatures: the matching CER TMY weather files for Alice Springs, Rockhampton, Sydney, Melbourne and Canberra.

- Fitting: for each zone a Python script (tools/fit_bc_aus_by_zone.py) adjusted the five constants to minimise the difference between the equation’s monthly predictions and the CER monthly reference values, using non-linear least squares with several starting guesses and keeping the best fit.

The result: instead of arbitrary monthly lookup values, the calculator uses one smooth physical-style equation whose constants are tuned to match Australian regulatory data.

Figure 2. Calibration check: each zone's fitted curve (line) closely follows the AS/NZS 4234 / CER reference points (dots)

# 7. What data is used during a live run

- Calibration (one-time) used the CER DomDecks / AS/NZS 4234 reference dataset.

- A normal user calculation uses the selected site’s live TMY weather from the calculator backend.

- That weather supplies the annual average air temperature and seasonal swing for the exact location; the chosen zone’s constants then convert this into a daily mains-water temperature.

# 8. Important limitation

This model is intended for Australian locations, because the constants were calibrated to Australian AS/NZS 4234 / CER climate-zone data. A location outside Australia will still return a number, but it should not be treated as validated

# 9. Where this lives in the project

- js/app.js  —  calculateLocalTMains() and findNearestCERZone().

- js/bc_aus_zone_constants.js  —  the active zone constants.

- tools/fit_bc_aus_by_zone.py  —  the script that fitted the five zone formulas.

- data/bc_aus_constants.js  —  national-fit comparison constants.

- pages/cer_comparison.html  —  visual comparison against the CER reference data.